## NE-1000 Program
NE-1000 Programmable Syringe Pump |  |  |  |  | Copyright 2009-2026, New Era Pump Systems Inc. | [54 empty] | HSW_Norm_Ject
www.SyringePump.com |  |  |  |  | This spreadsheet and any derivative thereof is free for use with products from New Era Pump Systems Inc. | [34 empty] | Max Phase |  | 41
New Era Pump Systems Inc. |  |  |  |  | Any other usage, including reverse engineering, not authorized by New Era Pump Systems Inc. is prohibited.
(631) 249-1392 |  |  | Pumping Program Creator - OEM VERSION EXTENSIONS | [49 empty] | Becton-Dickinson | Mono-Ject | Terumo | HSW Norm-Ject | Poulten & Graf (Glass) | Hamilton Microliter | SGE | Cadence | Steel | Air-Tite
|  |  | V3.0a | [14 empty] | 4 | [34 empty] | Becton_Dickinson | Mono_Ject | Terumo | HSW_Norm_Ject | Poulten_Graf | Hamilton_Microliter | SGE | Cadence | Steel | Air_Tite
Any values in GREEN BOXES can be changed. Strikeouts indicate non-applicable parameters. RED boxes indicate invalid data. | [52 empty] | 1 mL | 1 mL | 1 mL | 1 mL | 1 mL | 0.5 μL | 0.5 μL | 2 mL | 1 mL | 10 cc
Save this file with your project name, then click on pump image to upload program. Pump Double Beep indicates upload. | [10 empty] | Pump Setup | [16 empty] | 1000 | [24 empty] | 3 mL | 3 mL | 3 mL | 3 mL | 2 mL | 1.0 μL | 1.0 μL | 3 mL | 3 mL | 20 cc
*** Note: This spreadsheet has only limited error checking. Verify that values entered are within pumping limits. | [52 empty] | 5 mL | 6 mL | 5 mL | 5 mL | 3 mL | 2.0 μL | 5 μL | 5 mL | 5 mL | 30 cc
[6 empty] | Click on Pump Image to Upload Program |  |  |  |  | Names are ™ of respective manufacturers | [24 empty] | ------------- | 0 | 1000 | 0 | 0 | 0 |  |  | ------------- | 0 | ------------- |  | -1 | 100 | rateonly | 0 | 0 | 10 mL | 12 mL | 10 mL | 10 mL | 5 mL | 5.0 μL | 10 μL | 10 mL | 8 mL | 50 cc
Phase Label | Notes | Phase # | Program Function | Pumping Rate, Value, Phase # or Label | Pumping Rate Units | Volume to be Dispensed (mL). 0 = Continuous Pumping | Time (minutes : seconds) |  | Pumping Direction | Program Function TTL Trigger Select | Syringe Manufacturer | Syringe Size | Inside Diameter (mm) |  |  |  |  | cmd |  | units | Type |  |  | Rate |  |  | Volume | Time | min | max | Decimals | Direction | Dir cmd |  | Function Data | Pumping Rate | RAT | 350 | 0 | 0 | 0 |  |  | Infuse | INF | Foot Switch: 0 Edge Start/Stop | FT | 0 | 200 | ratetime | 0 | 0 | 20 mL | 20 mL | 20 mL | 20 mL | 10 mL |  | 25 μL | 20 mL | 20 mL
start |  | 1 | Pumping Rate | 10 | mL/hr | 0 |  | : | Infuse | ------------- | HSW Norm-Ject | 10 mL | 15.9 |  |  |  | 2 | RAT | 2 | MH | 350 | 10 | 0.01 | 10 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 2 | INF | 10 |  | Rate for Time | RAT | 200 | 0 | 0 | 0 |  |  | Withdraw | WDR | Foot Switch Hold: 0-Start, 1-Stop | FH | 1 | 350 | rateunits | 0 | 0 | 30 mL | 35 mL | 30 mL | 30 mL | 20 mL |  | 50 μL | 30 mL | 50 mL | 15.9
|  | 2 | Stop Pump |  | ----- |  |  | : | Infuse | ------------- |  | use this Diameter |  |  |  |  | 7 | STP | 1 |  | 900 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | -1 | -1 | 0 | 2 | INF | #N/A |  | Fill Syringe | FIL | 300 | 0 | 0 | 0 |  |  | Sticky | STK | Foot Switch Reversed: 1 Edge Start/Stop | F2 | 2 | 300 | ratenovol | 0 | 0 | 60 mL | 60 mL | 60 mL | 50 mL | 30 mL |  | 100 μL | 50 mL | 100 mL | 20.25
|  | 3 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  | or enter Syringe Inside Diameter here: |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Increment Rate | INC | 100 | 0 | 0 | 0 |  |  |  |  | Level Control: 0-Stop, 1-Start | LE | 3 | 400 | phasenum | 1 | 41 |  | 140 mL |  |  | 50 mL |  | 0.25 mL |  | 200 mL | 22.5
|  | 4 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Enter 0 to leave setting out of PPL file | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Decrement Rate | DEC | 100 | 0 | 0 | 0 |  |  |  |  | Start Only Falling Edge | ST | 4 | 500 | number0-99 | 0 | 99 |  |  |  |  | 100 mL |  | 0.5 mL |  |  | 29
|  | 5 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  | Syringe Inside Diameter to use: | 15.9 |  | 15.9 | 0.01 | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Stop Pump | STP | 900 | -1 | -1 | 0 |  |  |  |  | Start Only Rising Edge | T2 | 5 | 550 | count1-99 | 1 | 99 | [6 empty] | 1 mL
|  | 6 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Rate Units: | Standard |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Pause (seconds) | PAS | 500 | 0 | 99 | 1 | mL/hr | nL/hr | MH | NH | Stop Only Falling Edge | SP | 6 | 600 | logic | 0 | 1 | [6 empty] | 2.5 mL
|  | 7 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Volume Units: | mL |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Jump to Phase | JMP | 400 | 1 | 41 | 0 | μL/hr | μL/hr | UH | UH | Stop Only Rising Edge | P2 | 7 | 800 | Triggerfunct | 0 | 12 | [6 empty] | 5 mL
|  | 8 | ------------- |  | ----- |  |  | : | ------------- | ------------- | General Setup | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Loop Start | LPS | 900 | -1 | -1 | 0 | mL/min | nL/min | MM | NM | Any Edge Start//Stop | SR | 8 | 900 | nodata | 0 | 0 | [6 empty] | 10 mL
|  | 9 | ------------- |  | ----- |  |  | : | ------------- | ------------- | TTL I/O Trigger Input (Pin 2) | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Loop Count | LOP | 550 | 1 | 99 | 0 | μL/min | μL/min | UM | UM | Start on Low Level | RL | 9 | 1000 | notused | 0 | 0 | [6 empty] | 25 mL
|  | 10 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Foot Switch: 0 Edge Start/Stop | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Loop Continuous | LPE | 900 | -1 | -1 | 0 | mL/sec | nL/sec | MM | NM | Start on High Level | RH | 10 | [10 empty] | 50 mL
|  | 11 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Alarms | Off |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Event Trigger Pin 4: Jump to Phase | EVN | 400 | 1 | 41 | 0 | μL/sec | μL/sec | UM | UM | Stop on Low Level | SL | 11 | [10 empty] | 100 mL
|  | 12 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Power Failure Mode | Off |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Event Square Trigger Pin 4: Jump to Phase | EVS | 400 | 1 | 41 | 0 |  |  |  |  | Stop on High Level | SH | 12
|  | 13 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Keypad/Notification Beep | Off |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Event Reset | EVR | 900 | -1 | -1 | 0 | ----- |  | 1 |  | Disable trigger | OF | 13
|  | 14 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Other commands |  | Before |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Pause Until Expansion Pin Low Level or Falling Edge | EPL | 550 | 1 | 5 | 0 | mL/hr | MH | 1 |  | Event or Next Phase | ---- | 14
|  | 15 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  | Before |  |  | FT | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Pause Until Expansion Pin Falling Edge | EPE | 550 | 1 | 5 | 0 | μL/hr | UH | 1 |  | Stop Button Event |  | 15
|  | 16 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  | Before |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Re-Direct Event Trigger to Expansion Pin | EVE | 550 | 1 | 5 | 0 | mL/min | MM | 1
|  | 17 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Start Pump after Program Upload? | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Trigger Configuration: TTL Pin 2 | TRG | 800 | 0 | 15 | 0 | μL/min | UM | 1 | [8 empty] | 4.699 | 5.74 | 4.7 | 4.7 | 6.7 | 0.103 | 0.1 | 8.91 | 9.538
|  | 18 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  | No |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | If TTL Pin 6 Low: Jump to Phase | IF | 400 | 1 | 41 | 0 | mL/sec | MM | 60 | [8 empty] | 8.585 | 8.941 | 8.95 | 9.7 | 8.91 | 0.146 | 0.15 | 8.91 | 9.538
|  | 19 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Exit Terminal Emulator after | [5 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Set TTL Pin 5 Output | OUT | 600 | 0 | 1 | 0 | μL/sec | UM | 60 | [8 empty] | 11.99 | 12.7 | 13 | 12.5 | 9.06 | 0.206 | 0.343 | 11.71 | 12.7
|  | 20 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Program Upload? |  | Yes |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Set Expansion Pin Low | OE0 | 550 | 1 | 5 | 0 | [11 empty] | 14.43 | 15.72 | 15.8 | 15.9 | 11.75 | 0.326 | 0.485 | 14.65 | 9.538
|  | 21 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Enable Program Upload Confirmation |  |  |  |  | 1 | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Set Expansion Pin High | OE1 | 550 | 1 | 5 | 0 | [11 empty] | 19.05 | 20.12 | 20.15 | 20.1 | 14.67 |  | 0.728 | 19.56 | 19.13
|  | 22 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Double Beep? |  | Yes |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Clear Dispense Volume | CLD | 900 | -1 | -1 | 0 | [11 empty] | 21.59 | 23.52 | 23.1 | 22.6 | 19.62 |  | 1.03 | 22.7 | 28.6
|  | 23 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Communications Network Setup |  |  |  |  | Program Folder | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Beep | BEP | 900 | -1 | -1 | 0 | [11 empty] | 26.59 | 26.64 | 29.7 | 29 | 22.69 |  | 1.457 | 28.02 | 34.93
|  | 24 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Mode: | Address (ADDR) |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Sub-Program Select | PRI | 900 | -1 | -1 | 0 | [12 empty] | 38 |  |  | 26.96 |  | 2.303 |  | 44.75
|  | 25 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Address: |  | 0 |  |  | PPL.PPL | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Sub-Program Label | PRL | 500 | 0 | 99 | 0 | [15 empty] | 34.21 |  | 3.257
|  | 26 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Auto Configure Com Port? |  | Yes |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Pump Network Address | 1 | 575 | 0 | 0 | 0 | [17 empty] | 4.606
|  | 27 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Com Port Number? |  | 1 |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  |  |  | 900 | -1 | -1 | 0 | [17 empty] | 7.284
|  | 28 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Baud Rate? |  | 19200 |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  |  |  | 900 | -1 | -1 | 0 | [17 empty] | 10.3
|  | 29 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Pump communications program to use: |  |  |  |  | Default | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  |  |  | 900 | -1 | -1 | 0 | [17 empty] | 14.57
|  | 30 | ------------- |  | ----- |  |  | : | ------------- | ------------- | c:\pumpterm\PUMPTERM_shortcut.bat |  |  |  |  | Program Folder | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | [24 empty] | 23.03
|  | 31 | ------------- |  | ----- |  |  | : | ------------- | ------------- | Name of PPL file: | PPL.PPL |  |  |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | [24 empty] | 27.5
|  | 32 | ------------- |  | ----- |  |  | : | ------------- | ------------- | List of pump communications program locations: |  |  | Folder to Save PPL file in: |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | [24 empty] | 34.99
|  | 33 | ------------- |  | ----- |  |  | : | ------------- | ------------- | c:\pumpterm\PUMPTERM_shortcut.bat |  |  | Program Folder |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  |  | 2 |  | ML |  | 1
|  | 34 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  |  | Default |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | ----- | ----- | ----- | 0 | Off | Standard
|  | 35 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  |  | Default |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | mL | mL | μL | ML | On | Micro-Fluidics
|  | 36 | ------------- |  | ----- |  |  | : | ------------- | ------------- |  |  |  | Default |  |  | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | μL | μL | nL | UL
|  | 37 | ------------- |  | ----- |  |  | : | ------------- | ------------- | [6 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  |  | nL |  | NL
|  | 38 | ------------- |  | ----- |  |  | : | ------------- | ------------- | [6 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A
|  | 39 | ------------- |  | ----- |  |  | : | ------------- | ------------- | [6 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A
|  | 40 | ------------- |  | ----- |  |  | : | ------------- | ------------- | [6 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Alarms | AL | Before
|  | 41 | ------------- |  | ----- |  |  | : | ------------- | ------------- | [6 empty] | 1 | 0 | 1 |  | 1000 | 1 | 0.001 | 1 |  | 0.001 |  | 0 | 0 | 0 | 0 | 1 | 0 | #N/A |  | Power Failure | PF | After
[36 empty] | Keypad Beep | BP
[36 empty] | Address (ADDR) |  | 0 | 1
[36 empty] | Dual (DUAL) |  | DUAL
[36 empty] | Reciprocating (RECP) |  | RECP
[36 empty] | Alternating (ALTR) |  | ALTR

## PPL
; | This step is not necessary if the automated macro on the program page is used.
; | To manually generate the Pumping Program file:
; | Select from the above menu: File, Save As…
; | Select "Save as type" "Text (Tab Delimited) (*.txt)"
; | Select folder to save in, then name the file "nnnnn.PPL", where nnnn is an 8 character abbreviation for your project name
; | Answer YES/OK to any warnings. Exit spreadsheet without re-saving.
; | #NA Anywhere on this page indicates an error in the program.
;*********************************************************************
SETUP ADR=0
DIA15.9
VOL | ML
TRGFT
AL | 0
PF | 0
BP | 0
;*********************************************************************
;*********************************************************************
PHN | 1 |  | ; | 1 | 3
FUN | RAT
RAT | 10 | MH
VOL | 0
DIR | INF
;*********************************************************************
PHN | 2 |  | ; | 2 | 3
FUN | STP
DIR | INF
;*********************************************************************
|  |  | ; | 3 | 1
;*********************************************************************
|  |  | ; | 4 | 1
;*********************************************************************
|  |  | ; | 5 | 1
;*********************************************************************
|  |  | ; | 6 | 1
;*********************************************************************
|  |  | ; | 7 | 1
;*********************************************************************
|  |  | ; | 8 | 1
;*********************************************************************
|  |  | ; | 9 | 1
;*********************************************************************
|  |  | ; | 10 | 1
;*********************************************************************
|  |  | ; | 11 | 1
;*********************************************************************
|  |  | ; | 12 | 1
;*********************************************************************
|  |  | ; | 13 | 1
;*********************************************************************
|  |  | ; | 14 | 1
;*********************************************************************
|  |  | ; | 15 | 1
;*********************************************************************
|  |  | ; | 16 | 1
;*********************************************************************
|  |  | ; | 17 | 1
;*********************************************************************
|  |  | ; | 18 | 1
;*********************************************************************
|  |  | ; | 19 | 1
;*********************************************************************
|  |  | ; | 20 | 1
;*********************************************************************
|  |  | ; | 21 | 1
;*********************************************************************
|  |  | ; | 22 | 1
;*********************************************************************
|  |  | ; | 23 | 1
;*********************************************************************
|  |  | ; | 24 | 1
;*********************************************************************
|  |  | ; | 25 | 1
;*********************************************************************
|  |  | ; | 26 | 1
;*********************************************************************
|  |  | ; | 27 | 1
;*********************************************************************
|  |  | ; | 28 | 1
;*********************************************************************
|  |  | ; | 29 | 1
;*********************************************************************
|  |  | ; | 30 | 1
;*********************************************************************
|  |  | ; | 31 | 1
;*********************************************************************
|  |  | ; | 32 | 1
;*********************************************************************
|  |  | ; | 33 | 1
;*********************************************************************
|  |  | ; | 34 | 1
;*********************************************************************
|  |  | ; | 35 | 1
;*********************************************************************
|  |  | ; | 36 | 1
;*********************************************************************
|  |  | ; | 37 | 1
;*********************************************************************
|  |  | ; | 38 | 1
;*********************************************************************
|  |  | ; | 39 | 1
;*********************************************************************
|  |  | ; | 40 | 1
;*********************************************************************
|  |  | ; | 41 | 1
;*********************************************************************
;*********************************************************************
;*********************************************************************
BUZ12
EXIT